## Slide 1: Solar-Powered Rover
By Team 66:
William Mancuso (EE), Bowen Williamson (EE), Margaret Burkes (EE), Keldon Ngo (EE), Kenny Bui (EE)
Project Sponsor: Dr. Xiangyu Meng
Faculty Advisor: Dr. Shahab Mehraeen
12/6/2024
#1
Prepared by: Margaret Burkes
Presented by: Margaret Burkes

## Slide 2: Project Background:
12/6/2024
#2
Prepared by: Margaret Burkes
Presented by: Margaret Burkes
Land
Optimized
Upgradeable
Interplanetary
System

## Slide 3: Objective Statement
The main objective of this project is enhancing the previously built rover, which is battery powered, by integrating solar power, autonomous power switching between solar and battery power, and an independent cleaning system for the solar panel.
12/6/2024
#3
Prepared by: Bowen Williamson
Presented by: Margaret Burkes

## Slide 4: Customers:
12/6/2024
#4
Primary: The LSU Electrical Engineering Department can utilize LOUIS for research, development, and educational purposes for their students.
Secondary: Future senior design students can enhance LOUIS’s capabilities to learn more about the design and building process. Additionally, companies can use and adapt this technology for their own purposes.
Prepared by: Margaret Burkes
Presented by: Margaret Burkes
Notes: FIX SPACING

## Slide 5: Existing and Competing Technologies:
12/6/2024
#5
Ecoppia E4:
  Key similarities
    Solar panel cleaning robot
    Bi-directional cleaning
  Key Differences
    Smart row scanning
    Speed adaptability
Prepared by: Keldon Ngo
Presented by: Keldon Ngo

## Slide 6: Existing and Competing Technologies:
12/6/2024
#6
Nasa Spirt Rover:
  Key Similarities
    Mainly solar power rover
    Used for environmental exploration
  Key differences
    Built for Martian weather
    No Self-Cleaning System
Prepared by: Keldon Ngo
Presented by: Keldon Ngo

## Slide 7: Functional Requirements
# | Weight | Function | Explanation
F1 | 0.4 | Convert solar energy to power the rover. | Utilize solar panels to absorb sunlight as an additional power source to the battery power.
F2 | 0.35 | Autonomously switch power between power sources. | Autonomously switch between battery and solar power.
F3 | 0.25 | Clean the solar panels. | Intermittently clean off debris from solar panel to maximize energy absorption and efficiency.
12/6/2024
#7
Prepared by: William Mancuso
Presented by: William Mancuso

## Slide 8: Qualitative Constraints
# | Weight | Qualitative Constraint | Explanation
Q1 | 0.40 | Compatibility with Existing Design | Make sure that the new implementations to the previous rover are compliant with each other. The additions should merge with the existing design seamlessly.
Q2 | 0.35 | Weatherproof Design | The solar panel system should be built to withstand the elements of Louisiana such as wind, precipitation, and heat.
Q3 | 0.25 | Portability | Make sure that the system doesn’t hinder the transportation of the rover. Should be convenient to maneuver without disassembly.
12/6/2024
#8
Prepared by: William Mancuso
Presented by: William Mancuso

## Slide 9: Quantitative Constraints
# | Weight | Name | Symbol | Units | Value(s) | Explanation
M1 | 0.5 | Budget | B | $ | 4000 | A budget of $4000 was decided upon by the sponsor.
M2 | 0.4 | Interior Space | S | M^3 | 0.977 | This is the amount of available space inside the rover’s chassis to install new electronic components.
M3 | 0.1 | Weight Limit | W | Kg | <36.3 | The max additional weight load was measured at 36.3kg. The team would like to stay under this variable.
12/6/2024
#9
Prepared by: William Mancuso
Presented by: William Mancuso

## Slide 10: Function Objective Tree
12/6/2024
#10
Prepared by: Kenny Bui
Presented by: Kenny Bui
Solar-Powered Rover
Generate Solar Power
Autonomously Switch Power Sources
Clean Solar Panels
Activate Brush Cleaning System
Timer Based Activation
Absorb Solar Energy
Supply Power To Rover System and Battery
Convert Solar Rays To Electricity
Switch Priority Between Power Sources
Execute Programming For Action
Detect Power Consumption
Clear Debris Off Of Solar Panel Surface

## Slide 11: Concept Generation: Self-Cleaning
12/6/2024
#11
Prepared by: Margaret Burkes
Presented by: Margaret Burkes
Electrostatic Method
Brush Method
Air Compressor Method
Notes: https://designscad.com/downloads/air-compressor-3d-dwg-model-for-autocad/

## Slide 12: Concept Evaluation & Selection: Self-Cleaning
12/6/2024
#12
 |  | Concepts |  | 
Criterion | Weights | Air Compressor | Electrostatic Method | Brush Method
Cost | 30 | 0 | -1 | 1
Cleans Effectively | 25 | -1 | 1 | 0
Mass | 20 | -1 | 0 | 1
Non-abrasive | 20 | 0 | 1 | -1
Maintenance | 5 | -1 | 1 | 0
Weighted Total | 100 | -0.5 | 0.2 | 0.3
Prepared by: Margaret Burkes
Presented by: Margaret Burkes

## Slide 13: Concept Selection:
12/6/2024
 | Solar Panel Cleaning System | Autonomously Switch Battery | Solar Panel
Concepts | Brush Method | Solar Charge Controller | Monocrystalline
#13
Prepared by: Margaret Burkes
Presented by: Margaret Burkes

## Slide 14
12/6/2024
#14
Prepared by: Bowen Williamson
Presented by: Bowen Williamson
Linear Actuators
Brush
Rover
Solar Panel
Product Architecture

## Slide 15
12/6/2024
#15
Prepared by: Bowen Williamson
Presented by: Bowen Williamson
Product Architecture – Solar Panel
46 in.
68 in.

## Slide 16: Product Architecture - Brush
12/6/2024
#16
Prepared by: Bowen Williamson
Presented by: Bowen Williamson
Radial Brush
Flange Coupling

## Slide 17: Product Architecture – Linear Actuator
12/6/2024
#17
Prepared by: Margaret Burkes
Presented by: Margaret Burkes
Gantry Plate
Rails
Linear Motor
Brush
Rotational Motor
Wheel
Belt

## Slide 18: Product Architecture – Rover
12/6/2024
#18
Prepared by: Margaret Burkes
Presented by: William Mancuso
Mounting Bars
Rover Frame
Linear Actuators

## Slide 19: Preliminary System Description
12/6/2024
#19
36V Battery
Solar Panel
PWM Solar Charge Controller
Bus Bars
Sources
To Rover
Source Management
Distribution
Solar Panel Cleaning System
Prepared by: Bowen Williamson
Presented by: William Mancuso

## Slide 20: Engineering Analysis: Charge Controller
12/6/2024
#20
Prepared by: William Mancuso
Presented by: William Mancuso
Notes: EXPLAIN WHERE NUMBERS COME FROM( SUNNY, CLOUDY, ETC.)

## Slide 21: Engineering Analysis: Charge Controller
12/6/2024
#21
Prepared by: Bowen Williamson
Presented by: Bowen Williamson
Effects of Solar Radiation on Power Production
Chart: Solar Radiation (W/m^2)
| 0 | 2 | 2 | 4 | 4 | 6 | 6 | 8 | 8 | 10 | 10 | 12 | 12 | 14 | 14 | 16 | 16 | 18 | 18 | 20 | 20 | 22 | 22 | 24 | 24 | 26 | 26 | 28 | 28 | 30 | 30
 | 100 | 100 | 200 | 200 | 300 | 300 | 400 | 400 | 500 | 500 | 600 | 600 | 700 | 700 | 800 | 800 | 900 | 900 | 1000 | 1000 | 100 | 100 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
Chart: Solar Panel Power (W)
| 0 | 2 | 2 | 4 | 4 | 6 | 6 | 8 | 8 | 10 | 10 | 12 | 12 | 14 | 14 | 16 | 16 | 18 | 18 | 20 | 20 | 22 | 22 | 24 | 24 | 26 | 26 | 28 | 28 | 30 | 30
Power (W) | 37 | 37 | 74 | 74 | 111 | 111 | 148 | 148 | 185 | 185 | 222 | 222 | 259 | 259 | 296 | 296 | 333 | 333 | 370 | 370 | 37 | 37 | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370

## Slide 22: Engineering Analysis: Charge Controller
12/6/2024
#22
Prepared by: Bowen Williamson
Presented by: Bowen Williamson
Effects of Temperature on Solar Panel Efficiency
Chart: Efficiency (%)
| -40 | -32.1 | -25.8 | -22.4 | -17.5 | -8.3000000000000007 | -1.7 | 5.7 | 17.600000000000001 | 26.6 | 31.3 | 35.4 | 38.5 | 42.7 | 46.2 | 49.1 | 52.6 | 55.9 | 59.7 | 63.1 | 66.599999999999994 | 68.7
Efficiency | 18.22 | 18.28 | 18.33 | 18.35 | 18.39 | 18.46 | 18.51 | 18.56 | 18.65 | 18.7 | 18.72 | 18.74 | 18.75 | 18.76 | 18.75 | 18.75 | 18.73 | 18.7 | 18.65 | 18.59 | 18.5 | 18.44

## Slide 23: Engineering Analysis: Charge Controller
12/6/2024
#23
Prepared by: Bowen Williamson
Presented by: Bowen Williamson
Chart: Battery State of Charge(%) after 5 Minutes
| 0 | 50 | 100 | 150 | 200 | 250 | 300
Battery Only | 90 | 89.6944 | 89.3887 | 89.0831 | 88.7775 | 88.4719 | 88.1662
Battery with Solar | 90 | 89.9372 | 89.8744 | 89.8116 | 89.7487 | 89.6859 | 89.6231

## Slide 24: Engineering Analysis: Cleaning Activation
12/6/2024
#24
Prepared by: Kenny Bui
Presented by: Kenny Bui
Initializing Variables
Initializing Pins

## Slide 25: Engineering Analysis: Cleaning Activation
12/6/2024
#25
Prepared by: Kenny Bui
Presented by: Kenny Bui
Cancel Button Function
Function to Move Motors
Timer and Main Body of Code:

## Slide 26: Engineering Analysis: Cleaning Activation
12/6/2024
#26
Prepared by: Kenny Bui
Presented by: Kenny Bui
Stepper Motor and Motor Function
Additional Motor Function

## Slide 27: Engineering Analysis: Cleaning Activation
12/6/2024
#27
Prepared by: Kenny Bui
Presented by: Kenny Bui

## Slide 28: Engineering Analysis: Linear Motion Motor
12/6/2024
#28
Prepared by: Margaret Burkes
Presented by: Margaret Burkes

## Slide 29: Engineering Analysis: Linear Motion Motor
12/6/2024
#29
Prepared by: Margaret Burkes
Presented by: Margaret Burkes

## Slide 30: Engineering Analysis: Linear Motion Motor
12/6/2024
#30
Prepared by: Margaret Burkes
Presented by: Margaret Burkes

## Slide 31: Engineering Analysis: DC Geared Motor
12/6/2024
#31
Prepared by: Keldon Ngo
Presented by: Keldon Ngo

## Slide 32: Engineering Analysis: DC Geared Motor
12/6/2024
#32
Prepared by: Keldon Ngo
Presented by: Keldon Ngo

## Slide 33: Engineering Analysis: DC Geared Motor
12/6/2024
#33
Prepared by: Keldon Ngo
Presented by: Keldon Ngo

## Slide 34: Engineering Analysis: Overall Circuit
12/6/2024
#34
Prepared by: Kenny Bui
Presented by: Kenny Bui
Original Circuit Load Analysis
*Load Calculation Conducted by Previous Group*
Additional Circuit Load Analysis

## Slide 35: Engineering Analysis: Overall Circuit
12/6/2024
#35
Prepared by: Kenny Bui
Presented by: Kenny Bui

## Slide 36: Component Evaluation: Solar Panel
12/6/2024
#36
Prepared by: Keldon Ngo
Presented by: Keldon Ngo
 |  | Concepts |  | 
Criterion | Weights | LG Neon | Candian Solar TOPHiKu6 | REC Alpha
Size | 40 | 0 | 0 | 1
Efficiency | 40 | -1 | 1 | 1
Cost | 20 | 0 | 0 | 1
Weighted Total | 100 | -0.4 | 0.4 | 1

## Slide 37: Component Selection: Solar Panel
12/6/2024
#37
Prepared by: Bowen Williamson
Presented by: Keldon Ngo
REC Pure-RX Solar Panel
Power Output | 450 W
Efficiency | 21.6%
Power Density | 20.1 W/m^2
Nominal Power Voltage | 54.3 V
Nominal Power Current | 8.29 A

## Slide 38: Component Selection: Solar Charge Controller
12/6/2024
#38
Prepared by: Bowen Williamson
Presented by: Bowen Williamson
Operating Voltage | 9 V
Nominal Battery Voltage | 12, 24, 36, or 48 V
Charge Rating | 30 A
Max PV Power | 1200 W
Max PV Voc | 150 V
MorningStar TriStar-MPPT-30

## Slide 39: Component Selection: Mounting Rails
12/6/2024
#39
Prepared by: Bowen Williamson
Presented by: Bowen Williamson
OpenBuilds V-Slot Linear Rail
Size | 20x20 mm
Material | 6063 T-5 Aluminum
Length | Cut to length

## Slide 40: Component Selection: Linear Actuators
12/6/2024
#40
Prepared by: Bowen Williamson
Presented by: Bowen Williamson
Motor Size | NEMA 23
Rail Size | 20x80 mm
Length | 2000 mm
Max Force | 7.5 lb.
Max Speed | 10,000 mm/min
OpenBuilds Belt & Pinion Actuator

## Slide 41: Component Selection: Stepper Motor Driver
12/6/2024
#41
Prepared by: Bowen Williamson
Presented by: Bowen Williamson
Operating Voltage | 9-42 V
Input Current | 1-4 A
Max Output Current | 3.5 A
Input Control Voltage | 5-24 V
Max Subdivision | 32 Microsteps
TB6600 Stepper Motor Driver

## Slide 42: Component Selection: Arduino Microcontroller
12/6/2024
#42
Prepared by: Bowen Williamson
Presented by: Bowen Williamson
Arduino Uno REV3
Operating Voltage | 5 V
Digital I/O | 14 (6 provide PWM output)
Analog Input | 6
Input Control Voltage | 5-24 V
Max Subdivision | 32 Microsteps

## Slide 43: Component Selection: Cleaning Brush
12/6/2024
#43
Prepared by: Bowen Williamson
Presented by: Bowen Williamson
Industrial Brush Corp. Custom Brush
Type | Tufted Radial Brush
Material | 0.012in. Crimped Nylon
Length | 46 in.
Outer Diameter | 4 in.

## Slide 44: Component Selection: DC Brushed Motor
12/6/2024
#44
Prepared by: Bowen Williamson
Presented by: Bowen Williamson
21mm Planetary Gear Motor w/ 12V Encoder, 185RPM
Operating Voltage | 1-12 V
Input Current | 0.09-2.5 A
Max Current at Stall | 2.5A
Toque | 2 kgf/cm
Speed(Rated) | 7812RPM

## Slide 45: Component Selection: Brushless Motor Driver
12/6/2024
#45
Prepared by: Bowen Williamson
Presented by: Bowen Williamson
L298N Dual H-Bridge Motor Driver
Operating Voltage | 3.2-40 V
Input Current | 0-36 mA
Max Output Current | 2 A
Input Control Voltage | 3.2-40 V
Max power consumption | 20W

## Slide 46: Manufacturing Plan: The Brush
12/6/2024
#46
Prepared by: William Mancuso
Presented by: William Mancuso

## Slide 47: Manufacturing Plan: Cleaning System
12/6/2024
#47
Prepared by: William Mancuso
Presented by: William Mancuso

## Slide 48: Manufacturing Plan: Wiring Changes & Electrical Connections
12/6/2024
#48
Prepared by: William Mancuso
Presented by: William Mancuso
KEY | 
Blue box | New Component
Blue Arrow | New Electrical Wiring
Red Arrow | New Signal Wiring

## Slide 49: Manufacturing Plan: Solar Panel Mounting
12/6/2024
#49
Prepared by: William Mancuso
Presented by: William Mancuso

## Slide 50: Testing and Validation Plan:
12/6/2024
#50
Battery Runtime
  Analyze state of charge while having the rover preform at full capacity
Environment performance
  Bring the solar panel outside during peak sun irradiation and measure power output
Cleaning system
  Add debris to the panel to test the effectiveness of the brush
  Run the cleaning system without attachment to the solar panel to ensure its status
Prepared by: Keldon Ngo
Presented by: Keldon Ngo

## Slide 51: Safety Considerations:
12/6/2024
#51
Prepared by: Kenny Bui
Presented by: Kenny Bui
Concern | Safety Preventative
Electrical Shock Hazard | All electrical connections on our rover are properly grounded to prevent shock hazard.
Overcurrent | All major electrical components have incorporated fused connections that are sized properly and are expected to pop in the case of overcurrent.
Moving object hazard with motors on cleaning system | There is a cancel button designed in the brush cleaning system that is designed to cancel all operation of the cleaning system in case it is needed.
Unexpected cleaning system activation | There is also a buzzer designed to trigger before the cleaning system is activated to alert all nearby prior to the cleaning system activating.
Kill Switch | There are two switches attached to the battery that can be quickly disengaged to de-energize the entire rover in the case that it is needed

## Slide 52: Environmental Impact Assessment
12/6/2024
#52
• Decrease in power required from the grid
• Recyclable components
• Emission-free operation
Dry cleaning; no harmful chemicals
Prepared by: Bowen Williamson
Presented by: Bowen Williamson

## Slide 53: Budget
12/6/2024
#53
Prepared by: Bowen Williamson
Presented by: Bowen Williamson
Generous Donations:
MorningStar
•TriStar Solar Charge Controller ($293)
REC Solar
•450W Pure-RX Solar Panel ($234)
Allotted Budget: $4000
Expected Total Cost: $1195
Chart: 
| Linear Actuators | Brush | Flange Connectors | Motor Drivers | Fuses | Arduino | Threaded Inserts | Wiring | Brushed Motor | Mounting Hardware
Column1 | 600 | 200 | 10 | 50 | 40 | 30 | 15 | 100 | 50 | 100

## Slide 54: Timeline:
12/6/2024
#54
Prepared by: Kenny Bui
Presented by: Kenny Bui

## Slide 55: Timeline Cont.:
12/6/2024
#55
Prepared by: Kenny Bui
Presented by: Kenny Bui

## Slide 56: Appendix:
12/6/2024
#56
Nema 23 Stepper Motor
Concept Generation: Solar Panel
Concept Evaluation & Selection: Solar Panel
Concept Generation: Autonomous Power Switching
Concept Evaluation & Selection: Autonomous Power Switching
Stepper Motor Simulation Blocks
Controller’s Step Rate and Direction
Controller’s Voltage-Controlled Pulse Generator
Stepper Motor’s Shaft Angle
Stepper Motor’s Shaft Speed
Stepper Driver’s Pin Voltages

## Slide 57: Appendix:
12/6/2024
#57
Stepper Motor’s Reverse Charts #1
Stepper Motor’s Reverse Charts #2
Stepper Motor’s Total Number of Steps
Electrical Connections Before Add-ons
New Addition Load Analysis Calculations

## Slide 58: Concept Generation: Solar Panel
12/6/2024
#58
Thin-Film Panel
Polycrystalline Panel
Mono crystalline Panel
Prepared by: Keldon Ngo
Presented by: Keldon Ngo

## Slide 59: Concept Evaluation & Selection: Solar Panel
12/6/2024
#59
 |  | Concepts |  | 
Criterion | Weights | Thin Film | Polycrystalline | Monocrystalline
Efficiency | 40 | -1 | 0 | 1
Cost | 25 | 1 | 0 | -1
Weight | 20 | 1 | -1 | -1
Life-span | 15 | -1 | 1 | 1
Weighted Total | 100 | -.1 | -.05 | 0.1
Prepared by: Keldon Ngo
Presented by: Keldon Ngo

## Slide 60: Concept Generation: Autonomous Power Switching
12/6/2024
#60
Voltage Regulator with Arduino
DC/DC Controller with Arduino
Solar Charge Controller
Prepared by: William Mancuso
Presented by: William Mancuso

## Slide 61: Concept Evaluation & Selection: Autonomous Power Switching
 |  | Concepts |  | 
Criterion | Weights | Voltage Regulator with Arduino | DC/DC Converter with Arduino | Solar Charge Controller
Functional Accuracy | 45 | -1 | 0 | 1
Simplicity | 25 | 0 | -1 | 1
Programmability | 20 | -1 | 0 | 1
Cost | 10 | 1 | 0 | -1
Weighted Total | 100 | -0.55 | -0.25 | 0.8
12/6/2024
#61
Prepared by: William Mancuso
Presented by: William Mancuso

## Slide 62: Nema 23 Stepper Motor
12/6/2024
#62
Items | Specs
Phase Number | 2 phases
Driving Voltage | 12-48V
Resistance(20) | 1.110% / phase
Holding Torque | 175 Oz.in
Detent Torque | 400 g.cm
Rotor Inertia | 300 g.
Step Angle | 5%
Rated Current | 2.8A / phase
Inductance | 3.020% mH/ phase
Weight | 0.75 kg
Items | Specs
Phase Number | 2 phases
Driving Voltage | 12-48V
Holding Torque | 175 Oz.in
Detent Torque | 400 g.cm
Rotor Inertia | 
Step Angle | 
Rated Current | 2.8A / phase
Inductance | 
Weight | 0.75 kg
Prepared by: Margaret Burkes
Presented by: Margaret Burkes

## Slide 63: Stepper Motor Simulation Blocks
12/6/2024
#63
Prepared by: Margaret Burkes
Presented by: Margaret Burkes

## Slide 64: Controller’s Step Rate and Direction
12/6/2024
#64
Prepared by: Margaret Burkes
Presented by: Margaret Burkes

## Slide 65: Controller’s Voltage-Controlled Pulse Generator
12/6/2024
#65
Prepared by: Margaret Burkes
Presented by: Margaret Burkes

## Slide 66: Stepper Motor’s Shaft Angle
12/6/2024
#66
Prepared by: Margaret Burkes
Presented by: Margaret Burkes

## Slide 67: Stepper Motor’s Shaft Speed
12/6/2024
#67
Prepared by: Margaret Burkes
Presented by: Margaret Burkes
MAX: 894.3 deg/s

## Slide 68: Stepper Driver’s Pin Voltages
12/6/2024
#68
Prepared by: Margaret Burkes
Presented by: Margaret Burkes

## Slide 69: Stepper Motor’s Reverse Charts #1
12/6/2024
#69
Prepared by: Margaret Burkes
Presented by: Margaret Burkes
MIN: -894.4 deg/s

## Slide 70: Stepper Motor’s Reverse Charts #2
12/6/2024
#70
Prepared by: Margaret Burkes
Presented by: Margaret Burkes

## Slide 71: Stepper Motor’s Total Number of Steps
12/6/2024
#71
Prepared by: Margaret Burkes
Presented by: Margaret Burkes

## Slide 72: Electrical Connections Before Add-ons
12/6/2024
#72
Prepared by: William Mancuso Presented by: William Mancuso

## Slide 73: New Addition Load Analysis Calculations
12/6/2024
#73
Prepared by: Kenny Bui
Presented by: Kenny Bui
(2) TB6600 Motor Driver: 2 x 200mA = 0.4A
  0.4A x 3 minutes = 1.2A
  1.2A ÷ 60 minutes = 0.02Ah
DC Motor: 2.5A x 3 minutes = 7.5A
  7.5A ÷ 60 minutes = 0.125Ah